Date: Feb 24, 2026

Title: RFP #20261362623 Chiller Replacement (JPOC 1400)

Subject: Addendum to RFP

#### The following is hereby added to the initial RFP for further consideration.

All corrections, changes, additions, revisions, and/or clarifications in this Addendum #3 to the

RFP are hereby made a part of RFP #20261362623 Chiller Replacement (JPOC 1400).

All Respondents to the RFP shall acknowledge receipt and acceptance of this Addendum #3 by

signing in the space provided and submitting the signed Addendum #3 with the RFP.

Proposals submitted without an executed copy of this Addendum #3 attached may be considered

informal and may be rejected.

Received, acknowledged, and conditions agreed to on this _________ day of _________, 2026, by:

Respondent:  __________________________________________________________

Company Name: _______________________________________________________

If there are questions pertaining to this addendum please contact: Bid_submissions@jpshealth.org

- MINIMUM REQUIREMENTS

General Requirements

G. Preferred Equipment

•	Manufacturer: Trane or York or Equivalent.

•	Type: High-efficiency centrifugal chiller.

•	Capacity: 185 tons (nominal).