## Sheet1
Exhibit A - Price Sheet RFP# 20261387908 Mechanical Piping Insulation Repair and Mantenance
Category | Description | Unit | Rate ($) | Important Notes: Price quotes shall remain firm during Solicitation evaluation and for an additional 120 days after recommendation for award. Pricing must remain fixed for the initial term of the agreement. Respondents must include all costs associated with use of the items. Any costs not included in the Solicitation response cannot be charged to the District. Respondents may propose pricing increases for the optional renewal terms with set caps (e.g., no more than 1% to 3% annually). Quality • All insulation to be installed by experienced, trained personnel. • Materials shall be new and undamaged. • Contractor shall repair damaged vapor barriers. • Work shall pass visual inspection for: o Continuous vapor barrier o Proper thickness o Secure jacketing o Neat workmanship SAFETY • Comply with OSHA regulations. • Use proper PPE. • Follow hot work procedures where required. • Maintain clean and safe work areas.
Labor | Standard Installer | Per Hour
Labor | Foreman | Per Hour
Labor | Minimum Trip Charge | Half Day
Labor | Minimum Trip Charge | Full Day
Labor | Other (add additional lines as needed
Heating Water Piping | Fiberglass pipe insulation with factory-applied ASJ (All Service Jacket) vapor retarder.
Heating Water Piping | Fittings - Elbows
Heating Water Piping | Fittings - Tees
Heating Water Piping | Fittings - Valves
Heating Water Piping | Fittings - Flanges
Heating Water Piping | Fittings - Other - Add Lines as needed
Heating Water Piping | Removable insulation blankets for strainers, control valves, and equipment requiring maintenance
Steam & Condensate Piping | High-temperature fiberglass or mineral wool insulation suitable for steam service
Steam & Condensate Piping | Aluminum or PVC jacketing in mechanical rooms, aluminum jacketing for exposed or exterior piping.
Steam & Condensate Piping | Removable insulation blankets on steam traps, PRVs, strainers, and control valves
Steam & Condensate Piping | Other (add additional lines as needed
Domestic Water Piping (Hot & Cold) | Fiberglass with ASJ vapor retarder or elastomeric (closed cell) insulation for condensation control.
Domestic Water Piping (Hot & Cold) | Protective PVC jacketing in exposed areas
Domestic Water Piping (Hot & Cold) | Other (add additional lines as needed
Chilled Water Piping | Closed-cell elastomeric insulation or fiberglass with vapor barrier jacket
Chilled Water Piping | aluminum jacketing for exterior chilled water piping
Chilled Water Piping | Other (add additional lines as needed
Hot Water Piping | Fiberglass with ASJ jacket
Hot Water Piping | Protective jacketing in exposed mechanical spaces
Hot Water Piping | Other (add additional lines as needed
Condenser Water Piping | Fiberglass or elastomeric depending on temperature and condensation risk
Condenser Water Piping | Exterior piping to receive aluminum jacketing
Condenser Water Piping | Other (add additional lines as needed
ACCESSORIES & SPECIAL CONDITIONS | Provide removable insulation blankets for:
Control valves
Pressure reducing valves
Steam traps
Strainers
Insulation protection shields at all hangers