
Questions
Section II A
The RFP references the Facilities Master Plan.  Please clarify how the Master Facilities Plan relates to the implementation and management of the Clinical Engineering Services and this RFP?  Is the Facilities Master Plan available for review? Support for the Master Plan is not part of this RFP. Plan will be shared with the selected vendor.

Section II C
Under project Scope, you define “Installation, implementation, and administration of new medical equipment asset tracking RFID system.”  Is there an RFID system in place today? Current system is Intelligent Locations.  If so, which assets are tracked today? Mobile medical equipment What asset categories are expected to be included with the RFP? Mobile medical equipment

Related to maintaining the traction equipment, please provide details around the current traction equipment management program and what role Clinical Engineering, both the current management company and the existing JPS staff, has related to this program. Currently staff sets up traction equipment on beds as prescribed by doctor. Conducts daily rounding and safety checks on traction equipment. Collects equipment upon discharge and sends to sterile processing for cleaning. 

Related to performing all preventative maintenance, you reference PM “prescribed by the OEM”.  Is the health system open to an Alternative Equipment Maintenance (AEM) Program? No

Related to the “management of all outside vendor work”, can you provide a list of the current outsourced service contracts by line-item device, as well as expiration dates per device? See Attached

Section II D, 1, b
Will the specialty staff members be available for after-hours emergency calls? Currently , who defines an urgent or emergency call?  If JPS staff are available for after hours, are there limitations for engaging those employees, i.e. CBA.  If a CBA is in place, please direct us to that agreement. No CBA at JPS. All technicians are available for after-hours emergency calls. 
